LESSON PLAN No: E-LP-005	Dept: Electrical

SUBJECT: MEASUREMENT AND UNITS 1 (TEST INSTRUMENTS)

AIMS: At the end of the presentation the trainee will be able to demonstrate how to recognise, inspect,	Previous Knowledge: Minimal / none
and safely operate a variety of analogue and digital test instruments used to determine / measure
voltage, current and/or resistance. The trainee will also be able to explain the operating principles of
the Bridge Megger and the Clamp Meter.

| Target Time | Learning Reference | Objectives / content | Training Officer Activity | Learner Activity | Resources |  | Assessment |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Handouts | Equipment |  |
| Session 1 1:25 to 1:50 hrs | Test / Measuring instruments | Reasons for use. What is being measured? Introduction to test & measurement instruments Physical differences between different types | Lecture & promote Q&A & interactive discussion as the session progresses Demonstration - use of various test instruments to demonstrate how to inspect & operate safely Demonstration of Clamp meter operation | Observation & participation in Q&A & group discussion Examine individual measuring instruments & describe / demonstrate inspection & measurement methods Complete written assignment & submit for assessment | Electrical Worksheet E-AG-002 “Measurement & Units 1 (2014)” | Analogue Multi-meter Digital Multi-meter Voltage Indicator Non-contact voltage indicator Bridge Megger Digital Megger Clamp meter Test leads & clips | Observation / Q&A individuals & group during delivery Observation of practical activity & assessment of knowledge during practical assignment Assessment of written assignment |
|  | Analogue instrument (multi-meter) | Theory of operation Analogue scale Operation & limitations of use |  |  |  |  |  |
|  | Digital instrument (multi-meter) | Test sockets – selection & use How to operate & use correctly Limitations of use |  |  |  |  |  |
|  | Voltage indicator | Identify different models & features of each Safe method of use Limitations of use |  |  |  |  |  |
|  | Non-contact voltage indicator | Overview of operational theory Safe method of use Limitations of use |  |  |  |  |  |
|  | Bridge Megger | Purpose Wheatstone Bridge theory & practice Generation of test voltage |  |  |  |  |  |
|  | Clamp Meter | Purpose Theory of operation Limitations & potential hazards |  |  |  |  |  |

| Equality & Diversity | Differentiated Learning Activities (Highlight or tick where applicable) |
| --- | --- |
| Challenge stereotypes by: - Using non discriminatory language. - Using diverse images, names & scenarios. Promote a positive learning environment by : - Being a positive role model. - Encouraging collaborative work. - Valuing individual characteristics and experiences. - Encouraging learners to participate. - Nurturing mutual respect. - Promoting positive behaviour. Promote inclusion by : - Anticipating and addressing potential barriers to learning. - Using accessible resources. | - Was a mix of individual, paired and group work required?  - Variety of activities for different learning styles.  - Is learning support required?  (If ticked record in action plan) - Targeted differentiated questioning to check learning with prompts / leads to support less able learners.  Specific Differentiation activities: - By Extension  (For example additional practical tasks after completion of ROA/QCF/TECH CERT content) - By Group Work  (For example grouping learners of mixed ability to support each other within the peer group) - By Content.  (For example study different resource materials within the same topic area) - By Activities.  (For example study the same content but do different activities) - By Gradation  (For example the same information and activities are given as the activity becomes progressively more difficult) |
| LESSON NOTES |  |