LESSON PLAN No: E-LP-007	Dept: Electrical

SUBJECT: MEASUREMENT AND UNITS 3 (SERIES AND PARALLEL CIRCUITS)

AIMS:  At the end of the presentation the trainee will be able to demonstrate how to connect, calculate,	Previous Knowledge: Minimal / units 2
and measure voltage, current and resistance in series and parallel connected circuits using a
variety of analogue and digital measuring instruments.

| Target Time | Learning Reference | Objectives / content | Training Officer Activity | Learner Activity | Resources |  | Assessment |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Handouts | Equipment |  |
| Session 1 1:25 to 1:50 hrs | Resistors | Review of “Measurement & Units 2” (E-LP-006 & E-AG-003) | Lecture & promote Q&A & interactive discussion as the session progresses Demonstration – connection & use of equipment to complete the assignment Demonstration of calculation method (Ohms law) Observation of practical activity Assessment of written assignment | Observation & participation in Q&A & group discussion Risk Assessment of proposed activity Assemble & inspect equipment as listed in worksheet (E-A-016) Construct series & parallel circuits & follow worksheet instructions Complete written assignment & submit for assessment | Electrical Worksheet E-AG-004 “Measurement & Units 3 (2014)” “E-CN-001 : Electrical Course Notes” Copy of International Resistor Colour Code system (as required) | Analogue Multi-meter Digital Multi-meter (x2) Bridge Megger connecting / test leads & clips Various values / types of resistor Feedback breadboard & components (with various values of resistor attached) Variable DC supply unit | Observation / Q&A individuals & group during delivery Observation of practical activity & assessment of knowledge during practical assignment Assessment of written assignment |
|  | Measuring instruments | Review of previous advice & guidance : safe use of test instruments Connection of analogue & digital type multi-meters to measure voltage & current |  |  |  |  |  |
|  | Series & parallel connections | Purpose Construction of series & parallel circuits & connection of test instruments |  |  |  |  |  |
|  | Measurement of voltage & current - practical assignment | Identify Feedback equipment & individual components Connection of series & parallel resistors Connection of measuring instruments as voltmeters & ammeters Connection & operation of variable DC supply unit Risk Assessment |  |  |  |  |  |
|  | Ohms Law | Calculation of resistance using measured values Comparison of measured & stated values - reasons for any differences |  |  |  |  |  |

| Equality & Diversity | Differentiated Learning Activities (Highlight or tick where applicable) |
| --- | --- |
| Challenge stereotypes by: - Using non discriminatory language. - Using diverse images, names & scenarios. Promote a positive learning environment by : - Being a positive role model. - Encouraging collaborative work. - Valuing individual characteristics and experiences. - Encouraging learners to participate. - Nurturing mutual respect. - Promoting positive behaviour. Promote inclusion by : - Anticipating and addressing potential barriers to learning. - Using accessible resources. | - Was a mix of individual, paired and group work required?  - Variety of activities for different learning styles.  - Is learning support required ?  (If ticked record in action plan) - Targeted differentiated questioning to check learning with prompts / leads to support less able learners.  Specific Differentiation activities: - By Extension  (For example additional practical tasks after completion of ROA/QCF/TECH CERT content) - By Group Work  (For example grouping learners of mixed ability to support each other within the peer group) - By Content.  (For example study different resource materials within the same topic area) - By Activities.  (For example study the same content but do different activities) - By Gradation  (For example the same information and activities are given as the activity becomes progressively more difficult) |
| LESSON NOTES |  |