LESSON PLAN No: E-LP-008	Dept: Electrical

SUBJECT: MEASUREMENT AND UNITS 4 (RESISTORS AND CAPACITORS)

AIMS:  At the end of the presentation the trainee will be able to demonstrate how to connect components	Previous Knowledge: Minimal / units 3
in series and parallel and measure and calculate voltage, current, resistance and capacitance in
both types of circuit using a variety of analogue and digital measuring instruments.

| Target Time | Learning Reference | Objectives / content | Training Officer Activity | Learner Activity | Resources |  | Assessment |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Handouts | Equipment |  |
| Session 1 1:25 to 1:50 hrs | Resistors | Review of previous assignment (E-AG-004 “Measurement & Units 3 : Resistors & Resistance”) | Lecture & promote Q&A & interactive discussion as the session progresses Reference to “E-CN-001 : Electrical Course Notes” as required Use of individual components as examples Demonstration : connection & use of equipment to complete the practical assignment Observation of practical activity Assessment of written assignment | Observation & participation in Q&A & group discussion Reference to “E-CN-001 : Electrical Course Notes” as required Risk Assessment of proposed activity Assemble & inspect equipment as listed in worksheet (E-AG-005) Complete practical assignment & submit completed worksheet for assessment | Electrical Worksheet E-AG-005 “Measurement & Units 4 (2014)” “E-CN-001 : Electrical Course Notes” Copy of International Capacitor Colour Code system (as required) | Analogue multi-meter Digital Multi-meter (x2) connecting / test leads & clips Various values / types of resistor & capacitor Feedback Board 12-200-A Feedback Power Supply unit | Observation / Q&A individuals & group during delivery Observation of practical activity & assessment of knowledge during practical assignment Assessment of written content of assignment |
|  | Capacitors | Capacitor construction & theory of operation Series & Parallel circuits Calculation of Capacitance & Charge Practical applications |  |  |  |  |  |
|  | Measuring instruments | Review of previous assignment E-AG-002“Measurement & Units 1 : Test & Measurement Instruments” Review of connection of multi-meters to circuits |  |  |  |  |  |
|  | Ohms Law | Review of previous assignment E-A-003 “Measurement & Units 3 : Series & Parallel Circuits” |  |  |  |  |  |
|  | Practical assignment E-A-005 “Measurement & Units 4 : Resistors & Capacitor Networks” | Assignment worksheet content Identify Feedback equipment & individual components Safe handling & operation of equipment Risk Assessment |  |  |  |  |  |

| Equality & Diversity | Differentiated Learning Activities (Highlight or tick where applicable) |
| --- | --- |
| Challenge stereotypes by: - Using non discriminatory language. - Using diverse images, names & scenarios. Promote a positive learning environment by : - Being a positive role model. - Encouraging collaborative work. - Valuing individual characteristics and experiences. - Encouraging learners to participate. - Nurturing mutual respect. - Promoting positive behaviour. Promote inclusion by : - Anticipating and addressing potential barriers to learning. - Using accessible resources. | - Was a mix of individual, paired and group work required?  - Variety of activities for different learning styles.  - Is learning support required?  (If ticked record in action plan) - Targeted differentiated questioning to check learning with prompts / leads to support less able learners.  Specific Differentiation activities: - By Extension  (For example additional practical tasks after completion of ROA/QCF/TECH CERT content) - By Group Work  (For example grouping learners of mixed ability to support each other within the peer group) - By Content.  (For example study different resource materials within the same topic area) - By Activities.  (For example study the same content but do different activities) - By Gradation  (For example the same information and activities are given as the activity becomes progressively more difficult) |
| LESSON NOTES |  |