LESSON PLAN No: E-LP-009	Dept: Electrical

SUBJECT: MEASUREMENT AND UNITS 5 (AC AND DC MEASUREMENT)

AIMS:  At the end of the presentation the trainee will be able to demonstrate how to recognise and	Previous Knowledge: Minimal / units 4
measure values of Alternating Current (AC) and Direct Current (DC) and calculate AC
frequency using an oscilloscope and digital measuring instruments.

| Target Time | Learning Reference | Objectives / content | Training Officer Activity | Learner Activity | Resources |  | Assessment |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Handouts | Equipment |  |
| Session 1 1:25 to 1:50 hrs | AC & DC waveforms | Identify types of supply & associated waveform Where each type is used | Lecture & promote Q&A & interactive discussion as the session progresses Reference to “E-CN-001 : Electrical Course Notes” as required Demonstration : connection, use & limitations of equipment to complete the practical assignment Observation of practical activity Assessment of written assignment | Observation & participation in Q&A & group discussion Reference to “E-CN-001 : Electrical Course Notes” as required Risk Assessment of proposed activity Assemble & inspect equipment as listed in worksheet (E-AG-005) Complete practical assignment & submit completed worksheet for assessment | Electrical Worksheet E-AG-006 “Measurement and Units 5 - AC and DC Measurement (2014)” “E-CN-001 : Electrical Course Notes” | Digital Multi-meter Oscilloscope connecting / test leads Feedback Board 12-200-A Feedback Power Supply unit | Observation / Q&A individuals & group during delivery Observation of practical activity & assessment of knowledge during practical assignment Assessment of written content of assignment |
|  | Oscilloscope | The Cathode Ray Tube Basic theory of operation Practical applications Set-up & connection Test leads |  |  |  |  |  |
|  | Feedback Board 12-200-A | Physical properties Components Practical applications Limitations (physical & electrical) Safe handling / storage |  |  |  |  |  |
|  | Measuring instruments | Review of previous assignment E-AG-002“Measurement & Units 1 : Test & Measurement Instruments” Connection of multi-meters to Feedback Board |  |  |  |  |  |
|  | Practical assignment E-AG-005 “Measurement & Units 5 : AC & DC Measurement” | Assignment worksheet content Identify Feedback equipment & individual components Safe operation of equipment Risk Assessment |  |  |  |  |  |

| Equality & Diversity | Differentiated Learning Activities (Highlight or tick where applicable) |
| --- | --- |
| Challenge stereotypes by: - Using non discriminatory language. - Using diverse images, names & scenarios. Promote a positive learning environment by : - Being a positive role model. - Encouraging collaborative work. - Valuing individual characteristics and experiences. - Encouraging learners to participate. - Nurturing mutual respect. - Promoting positive behaviour. Promote inclusion by : - Anticipating and addressing potential barriers to learning. - Using accessible resources. | - Was a mix of individual, paired and group work required?  - Variety of activities for different learning styles.  - Is learning support required?  (If ticked record in action plan) - Targeted differentiated questioning to check learning with prompts / leads to support less able learners.  Specific Differentiation activities: - By Extension  (For example additional practical tasks after completion of ROA/QCF/TECH CERT content) - By Group Work  (For example grouping learners of mixed ability to support each other within the peer group) - By Content.  (For example study different resource materials within the same topic area) - By Activities.  (For example study the same content but do different activities) - By Gradation  (For example the same information and activities are given as the activity becomes progressively more difficult) |
| LESSON NOTES |  |