LESSON PLAN

LESSON PLAN No: E-LP-011	Dept.: Electrical

SUBJECT: CABLES AND CABLE GLANDS 	Previous Knowledge: Minimal / Plugs

AIMS:  At the end of the presentation and practical assignment the trainee will have an improved basic understanding and
knowledge of the various types of cable used in industrial and domestic installations. The trainee will be able to identify
various types of cable glands, the parts within them and their purpose. They will also be able to demonstrate how to
prepare and terminate a steel wire-armoured cable to a suitable cable gland in preparation for installation.

| Target Time | Learning Reference | Objectives / content | Training Officer Activity | Learner Activity | Resources |  | Assessment |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Handouts | Equipment |  |
| Session 1 1:25 to 1:50 hrs | Cables – uses, materials & construction | Conducting materials Identify different uses & reasons for specific types of cable Cable construction (inc. o/head Distribution cable) | Lecture / demonstration & promote Q&A & interactive discussion as the session progresses Where applicable (& safe to do so) use practical examples of materials in support | Observation & participation in Q&A & group discussion Recall / reflect on previous experiences &/or learning. Check for under-standing when unsure or if more information is required | Assignment E-AG-007 Cables & Glands | Dry marker board & pens Section of various types of cable inc. S.W.A., flat twin & earth, chord, multi-stranded, solid-drawn & singles. I.E.T. Regulations (17th Edit.). EEx Weatherproof & non-weatherproof S.W.A. glands & compression glands. Pictures OHP | Observation / Q&A individuals & group |
|  | Safety | Mechanical protection Cable routes & locations Earthing Case studies |  |  |  |  |  |
|  | I.E.T. Regulations. | Cable selection – how to use Appendix 4 of the IET Regulations for selecting type & size of cable. Cable installation – ducts, trenches & tray |  |  |  |  |  |
|  | Cable glands. | Reasons for use. Types of glands available. Identification of component parts & their purpose Cable gland assembly |  |  |  |  |  |

(Continued overleaf)

LESSON PLAN

LESSON PLAN No: E-LP-011	Dept: Electrical

SUBJECT: CABLES AND CABLE GLANDS 	Previous Knowledge: Minimal / Plugs

| Target Time | Learning Reference | Objectives / content | Training Officer Activity | Learner Activity | Resources |  | Assessment |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Handouts | Equipment |  |
| Session 2 1:35 to 1:55 hrs | Installation – cable & gland preparation & assembly | Hand tool safety Preparation & inspection of s.w.a. cable for cable gland installation Selection, disassembly & inspection of cable gland Assembly & installation of cable gland to cable | Demonstration of practical task highlighting hazards with hand tools Review of completed Risk Assessment & provide information / guidance / support as required Visual inspection of prepared cable & fitted cable gland Observation of individuals during the practical task & provide guidance as required | Observation of demonstration & question as required Contribute to & complete a Risk Assessment of the task Complete practical activity | Risk Assessment form HS-R-048 Cable Gland Manufacturer Instruction sheet Cable & Glands Worksheet E-A-007 | Section of steel-wire-armoured cable & external type cable gland to suit Hacksaw Jokari Knife Bench vice | Observation of individual during task Inspection of completed cable & gland assembly (practical) & assessment of written assignment |
|  | Cables & cable glands | Trainee Assignment | Provide information / guidance / support on demand | Complete written assignment in accordance with Worksheet E-A-002 |  |  |  |

| Equality & Diversity | Differentiated Learning Activities (Highlight or tick where applicable) |
| --- | --- |
| Challenge stereotypes by: - Using non discriminatory language. - Using diverse images, names & scenarios. Promote a positive learning environment by : - Being a positive role model. - Encouraging collaborative work. - Valuing individual characteristics and experiences. - Encouraging learners to participate. - Nurturing mutual respect. - Promoting positive behaviour. Promote inclusion by : - Anticipating and addressing potential barriers to learning. - Using accessible resources. | - Was a mix of individual, paired and group work required?  - Variety of activities for different learning styles.  - Is learning support required  (If ticked record in action plan) - Targeted differentiated questioning to check learning with prompts / leads to support less able learners.  Specific Differentiation activities: - By Extension  (For example additional practical tasks after completion of ROA/QCF/TECH CERT content) - By Group Work  (For example grouping learners of mixed ability y to support each other within the peer group) - By Content.  (For example study different resource materials within the same topic area) - By Activities.  (For example study the same content but do different activities) - By Gradation  ( For example the same information and activities are given as the activity becomes progressively more difficult) |
| LESSON NOTES |  |