- LESSON PLAN

LESSON PLAN No: E-LP-012	Dept: Electrical

SUBJECT: ISOLATORS AND SWITCHES 	Previous Knowledge: Minimal / None

AIMS:  At the end of the presentation the trainee will be able to demonstrate basic knowledge and understanding
of the selection and operation of isolators and switches, the differences between them, where each type may
be used, and why they are necessary.

| Target Time | Learning Reference | Objectives / content | Training Officer Activity | Learner Activity | Resources |  | Assessment |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Handouts | Equipment |  |
| Session 1 1:25 to 1:50 hrs | Isolators | Regulatory definition & reason for use Identify different uses & reasons for specific types of isolator | Presentation E-CP-004 Lecture / demonstration & promote Q&A & interactive discussion as the session progresses Where applicable (& safe to do so) use practical examples of materials in support (highlight potential hazards when operating the switches) | Observation & participation in Q&A & group discussion Recall / reflect on previous experiences &/or learning. Visual examination of components & operation Check for under-standing when unsure or if more information is required | I.E.T. Regulations (17th Edit.) Memorandum of Guidance on the EAWR (1989) Worksheet “Switches & Isolators” E-AG-008 | Dry marker board & pens I.E.T. Regulations (17th Edit.) Memorandum of Guidance on the EAWR (1989) Variety of switches & isolators Various types of Iso-lock, padlocks & labels Lined paper, pen & ruler | Observation / Q&A individuals & group Assessment of completed written assignment |
|  | Operation of an Isolator (see Key Areas overleaf) | Construction & operation -identify all external & internal features / parts Health & safety – moving parts Spring-assisted switch, ionisation, contact deterioration & arc damage Maintenance |  |  |  |  |  |
|  | Purpose of “Isolation” | Regulatory definition & reason for use Purpose of “Locking-off”, padlock & label |  |  |  |  |  |
| Session 2 1:35 to 1:55 hrs | Switches | Regulatory definition Identify different uses & reasons for specific types of switch Definition of On-load and off-load switching |  |  |  |  |  |
|  | Isolators & Switches | Trainee Assignment | Provide information / guidance / support as required | Complete written assignment in accordance with Worksheet E-AG-008 |  |  |  |

LESSON PLAN

LESSON PLAN No: E-LP-012 (ADDENDUM)	Dept: Electrical

SUBJECT: SWITCHES AND ISOLATORS (KEY SUBJECT AREAS)	Previous Knowledge: Minimal / None

Construction

- Cast metal or plate steel

- Ingress seal on or around the door

- Spring-assisted switch mechanism

- Flat-blade nickel-plated contacts

- Mechanical interlock

- Neutral terminal - to accommodate a 4-wire system

- Earth terminal - attached to the body of the switch

Safety

- Switch handle and/or mechanism can be locked in the “Off” position

- Interlock prevents switch being operated whilst the cable terminals are accessible and prevents access when the switch is in operation (“On” position)

- Spring-assisted switch mechanism minimises the arc-time (when opening / closing)

- Arc-shields over the terminals increase the creepage distance between terminals and reduces opportunities for ionisation and flash-over to occur

- Ingress seal protects the enclosure

- Always “Test” before touching the terminals – potential for 400Vac between terminals

- Should only be operated under no-load (or the minimum of load) conditions (prevents damage to contacts and reduces potential flash-over conditions)

Maintenance

- Secure terminal connections

- Inspection of the switch contacts for signs of arc damage

- Lubrication of the switch contacts

- Cable-entry seals and ingress of moisture and/or dust

| Equality & Diversity | Differentiated Learning Activities (Highlight or tick where applicable) |
| --- | --- |
| Challenge stereotypes by: - Using non discriminatory language. - Using diverse images, names & scenarios. Promote a positive learning environment by : - Being a positive role model. - Encouraging collaborative work. - Valuing individual characteristics and experiences. - Encouraging learners to participate. - Nurturing mutual respect. - Promoting positive behaviour. Promote inclusion by : - Anticipating and addressing potential barriers to learning. - Using accessible resources. | - Was a mix of individual, paired and group work required?  - Variety of activities for different learning styles.  - Is learning support required  (If ticked record in action plan) - Targeted differentiated questioning to check learning with prompts / leads to support less able learners.  Specific Differentiation activities: - By Extension  (For example additional practical tasks after completion of ROA/QCF/TECH CERT content) - By Group Work  (For example grouping learners of mixed ability y to support each other within the peer group) - By Content.  (For example study different resource materials within the same topic area) - By Activities.  (For example study the same content but do different activities) - By Gradation  ( For example the same information and activities are given as the activity becomes progressively more difficult) |
| LESSON NOTES |  |