LESSON PLAN

LESSON PLAN No. : E-LP-013	Dept. : Electrical

SUBJECT : DISTRIBUTION BOARDS	Previous Knowledge: Minimal / None

AIMS :  At the end of the presentation the trainee will be able to demonstrate basic knowledge and understanding 
of the construction and components of single-phase and three-phase distribution boards, phase identification,
the voltage levels available and how they may be safely measured, and the safety measures associated with them.

| Target Time | Learning Reference | Objectives / content | Training Officer Activity | Learner Activity | Resources |  | Assessment |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Handouts | Equipment |  |
| Session 1 1:25 to 1:50 hrs | Electricity | Generation & distribution (overview) Three-phase systems | Presentation E-CP-005 Lecture / demonstration & promote Q&A & interactive discussion as the session progresses Where applicable (& safe to do so) use practical examples of materials in support (highlight potentials hazards when operating the isolator) Demonstration of voltage levels & safe methods of test &/or measurement Supervise visual examination of Consumer Unit &/or Distributionj Board (as req’d) | Observation & participation in Q&A & group discussion Recall / reflect on previous experiences &/or learning. Visually examine a Consumer Unit & 3-P&N Distribution Board Check for under-standing when unsure or if more information is required | I.E.T. Regulations (17th Edit.) Memorandum of Guidance on the EAWR (1989) Worksheet “Distribution Boards” E-AG-009 | Dry marker board & pens I.E.T. Regulations (17th Edit.) Memorandum of Guidance on the EAWR (1989) Consumer Unit 3-Ph & N Distribution Board Test instrument Lined paper, pen & ruler | Observation / Q&A individuals & group Assessment of completed written assignment |
|  | Electrical distribution | Distribution from source to domestic & industrial users. Distribution to, & protection of, individual circuits. Circuit isolator – Legal & practical requirements |  |  |  |  |  |
|  | Distribution boards & Consumer Units | Identify individual parts / components & how they contribute to the safe operation of the board. Identify differences between 3-phase & single-phase boards Phase, Neutral & Earth identification – pre & post 2006 colours. Identify available voltages & how they are measured. Fuse carriers & holders – construction & safety. Neutral & Earth bus-bars – connection & identification of cables. Earthing & bonding |  |  |  |  |  |

(continued overleaf)

LESSON PLAN

LESSON PLAN No. : E-LP-013	Dept. : Electrical

SUBJECT : DISTRIBUTION BOARDS	Previous Knowledge: Minimal / None

| Target Time | Learning Reference | Objectives / content | Training Officer Activity | Learner Activity | Resources |  | Assessment |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Session 1 (cont’d) | Distribution boards & Consumer Units (cont’d) | Inspection & maintenance | Lecture / demonstration & promote Q&A & interactive discussion as the session progresses Where applicable (& safe to do so) use practical examples of materials in support (highlight potentials hazards when operating the isolator) Supervise visual examination of Consumer Unit &/or Distributionj Board (as req’d) | Observation & participation in Q&A & group discussion Recall / reflect on previous experiences &/or learning. Visually examine a Consumer Unit & 3-P&N Distribution Board Check for under-standing when unsure or if more information is required | I.E.T. Regulations (17th Edit.) Memorandum of Guidance on the EAWR (1989) Worksheet “Distribution Boards” E-AG-009 | Dry marker board & pens I.E.T. Regulations (17th Edit.) Memorandum of Guidance on the EAWR (1989) Consumer Unit 3-Ph & N Distribution Board Lined paper, pen & ruler | Observation / Q&A individuals & group Assessment of completed written assignment |
| Session 2 1:35 to 1:55 hrs | Safety | Circuit isolator Insulation of internal parts Arc shields- purpose Replacing or reseting circuit protection Phase & Neutral identification – avoiding confusion |  |  |  |  |  |
|  | Regulatory requirements | Board (& isolator) identification Supply identification Circuit identification & Information Circuit isolation |  |  |  |  |  |
|  | Distribution Boards | Trainee Assignment | Provide information / guidance / support as required | Complete written assignment in accordance with Worksheet E-A-007 |  |  |  |

| Equality & Diversity | Differentiated Learning Activities (Highlight or tick where applicable) |
| --- | --- |
| Challenge stereotypes by: - Using non discriminatory language. - Using diverse images, names & scenarios. Promote a positive learning environment by : - Being a positive role model. - Encouraging collaborative work. - Valuing individual characteristics and experiences. - Encouraging learners to participate. - Nurturing mutual respect. - Promoting positive behaviour. Promote inclusion by : - Anticipating and addressing potential barriers to learning. - Using accessible resources. | - Was a mix of individual, paired and group work required?  - Variety of activities for different learning styles.  - Is learning support required  (If ticked record in action plan) - Targeted differentiated questioning to check learning with prompts / leads to support less able learners.  Specific Differentiation activities: - By Extension  (For example additional practical tasks after completion of ROA/QCF/TECH CERT content) - By Group Work  (For example grouping learners of mixed ability y to support each other within the peer group) - By Content.  (For example study different resource materials within the same topic area) - By Activities.  (For example study the same content but do different activities) - By Gradation  ( For example the same information and activities are given as the activity becomes progressively more difficult) |
| LESSON NOTES |  |