LESSON PLAN

LESSON PLAN No: E-LP-014	Dept: Electrical

SUBJECT: CIRCUIT PROTECTION –FUSES	Previous Knowledge: Minimal / None

AIMS :  At the end of the presentation the trainee will be able to demonstrate basic knowledge and understanding
of fuse protection, in particular the reasons for using and the operation of, High Rupture Capacity (HRC)
fuses in an electrical system.

| Target Time | Learning Reference | Objectives / content | Training Officer Activity | Learner Activity | Resources |  | Assessment |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Handouts | Equipment |  |
| Session 1 1:25 to 1:50 hrs | Circuit protection | MCB & RCD (overview) | Presentation E-CP-006 Lecture / demonstration & promote Q&A & interactive discussion as the session progresses Relate content of DVD “GEC HRC Fuse Protection” to practical applications Where applicable (& safe to do so) use practical examples of materials in support (highlight potentials hazards when operating the isolator) | Observation & participation in Q&A & group discussion Recall / reflect on previous experiences &/or learning. Visually examine various types of fuse – compare different types Examine information provided in Worksheet “Fuse Protection – HRC Fuses” E-A-009 Check for under-standing when unsure or if more information is required | I.E.T. Regulations (17th Edit.) Memorandum of Guidance on the EAWR (1989) Worksheet “Fuse Protection – HRC Fuses” E-AG-010 | Dry marker board & pens I.E.T. Regulations (17th Edit.) Consumer Unit (with RCD/MCB Protecion) DVD – “GEC HRC Fuse Protection” YouTube – “High Voltage Fuses” Selection of BS1362 & BS88 (HRC) fuses Lined paper, pen & ruler | Observation / Q&A individuals & group Assessment of completed written assignment |
|  | Fuse protection | Definition of fuse & fuse element Identify reasons for fuse protection |  |  |  |  |  |
|  | BS1362 fuses | Construction Fuse rating & selection Fuse element - operation Limitations of use |  |  |  |  |  |
|  | HRC Fuse protection | Define term H.R.C. Identify applications & reasons for use Design, test values & construction Fuse element – design & operation – “M” effect Silica filler – type & purpose Fault current & fault energy – levels & consequences Operational advantages Supply distribution & discrimination |  |  |  |  |  |
|  | Circuit protection – HRC Fuses | Trainee Assignment | Provide information / guidance / support as required | Complete written assignment in accordance with Worksheet E-AG-010 |  |  |  |

| Equality & Diversity | Differentiated Learning Activities (Highlight or tick where applicable) |
| --- | --- |
| Challenge stereotypes by: - Using non discriminatory language. - Using diverse images, names & scenarios. Promote a positive learning environment by : - Being a positive role model. - Encouraging collaborative work. - Valuing individual characteristics and experiences. - Encouraging learners to participate. - Nurturing mutual respect. - Promoting positive behaviour. Promote inclusion by : - Anticipating and addressing potential barriers to learning. - Using accessible resources. | - Was a mix of individual, paired and group work required?  - Variety of activities for different learning styles.  - Is learning support required  (If ticked record in action plan) - Targeted differentiated questioning to check learning with prompts / leads to support less able learners.  Specific Differentiation activities: - By Extension  (For example additional practical tasks after completion of ROA/QCF/TECH CERT content) - By Group Work  (For example grouping learners of mixed ability y to support each other within the peer group) - By Content.  (For example study different resource materials within the same topic area) - By Activities.  (For example study the same content but do different activities) - By Gradation  ( For example the same information and activities are given as the activity becomes progressively more difficult) |
| LESSON NOTES |  |