LESSON PLAN

LESSON PLAN No: E-LP-019	Dept: Electrical

SUBJECT: INSTALLATION SKILLS - CONDUIT	Previous Knowledge: Minimal / None

AIMS:  At the end of the delivery and practical sessions the apprentice will have improved knowledge, understanding and
experience of the basic principles of conduit preparation, formation and installation methods, and be able to recognise
the hazards associated with the equipment and resources.

| Target Time | Learning Reference | Objectives / content | Training Officer Activity | Learner Activity | Resources |  | Assessment |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Handouts | Equipment |  |
| Session 1 1:25 to 1:50 hrs | Electrical installations - conduit | Conduit – identify, purpose, installation & limitations Identify different manufacturing materials & their advantages / disadvantages Bends and junctions Mounting methods Threads & fixings | Lecture & promote Q&A & interactive discussion as the session progresses Demonstrate how / where different types may be installed Reference to IET Regulations (17th Edition) On-Site Guide (Appendix E) as required | Observation & participation in Q&A & group discussion Reference to IET Regulations (17th Edition) On-Site Guide (Appendix E) | IET Regulations (17th Edition) On-Site Guide | Dry marker board & pens Workshop installations Selection of conduit (p.v.c / metal) & fixings | Observation / Q&A individuals & group during delivery & during the group assignment Participation in Risk Assessment process & safe transportation of equipment & resources |
|  | Equipment & resources - transportation | Identify equipment & resources in storage areas Risk Assessment – identify potential areas for injury that may be caused by : the equipment &/or resources any other equipment in the surrounding storage areas fixtures (doors, stairways) on the route Transport equipment & resources to workshop | Lecture & promote Q&A & interactive discussion as the session progresses Demonstrate how equipment is to be transported & highlight consequences of incorrect methods. Risk Assessment – use the opportunity to demonstrate how the process needs constantly evaluating according to the environment | Observation & participation in Q&A & group discussion Contribute to the Risk Assessment process & demonstrate Manual Handling knowledge & skills to transport equipment | Risk Assessment form HS-R-048 | Conduit Bender 3-4m length 20mm PVC conduit 3m length 20mm galvanised steel conduit |  |

LESSON PLAN

LESSON PLAN No: E-LP-019	Dept: Electrical

SUBJECT: INSTALLATION SKILLS - CONDUIT	Previous Knowledge: Minimal / None

| Target Time | Learning Reference | Objectives / content | Training Officer Activity | Learner Activity | Resources |  | Assessment |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Handouts | Equipment |  |
| Session 1 (cont’d) | Equipment & hand tools | Identify equipment & hand tools & how they should be stored Equipment assembly – safe position & operation / use of the conduit bender & pipe vice Hand tools – identify & demonstrate : stock & die (dissemble, clean & re-assemble) de-burring tool files hacksaw conduit spring Health & Safety – identify potential areas for injury with the equipment, resources & hand tools Health & Safety – identify how the risks in a work environment change as equipment & resources are moved | Lecture & promote Q&A & interactive discussion as the session progresses Demonstrate how equipment, resources & hand tools are to be safely assembled, positioned, & used. Risk Assessment – use the opportunity to demonstrate how the process needs constantly evaluating according to the changing environment Demonstration of practical task – how to : calculate angle of bends cut & file material cutting a thread securing material in a pipe vice bend conduit to the required angle keep equipment, materials & work area clean Highlight potential risks as the task progresses | Observation & participation in Q&A & group discussion Identify & consider the potential risks as the task is demonstrated | Electrical Worksheet - “Installation Skills - Conduit” E-AG-012 | Conduit bender Length of 20mm PVC conduit Length of 20mm galvanised steel conduit Conduit bender Cutting lubricant 20mm Conduit spring Stock & 20mm die Chalk 1m ruler / straight edge Protractor Hacksaw & files Pipe-cutter Emery Cloth Cleaning materials (brush & cloths) | Observation / Q&A individuals & group during delivery & during the group assignment Participation in Risk Assessment process & safe transportation of equipment & resources |
| Session 2 1:20 to 1:40 hrs |  |  |  |  |  |  |  |

LESSON PLAN

LESSON PLAN No. : E-LP-018	Dept. : Electrical

SUBJECT : INSTALLATION SKILLS - CONDUIT	Previous Knowledge: Minimal / None

| Target Time | Learning Reference | Objectives / content | Training Officer Activity | Learner Activity | Resources |  | Assessment |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Handouts | Equipment |  |
| Session 2 (cont’d) | Installation skills - Health & Safety | Risk Assessment | Provide assistance / information / guidance on demand during the activity & inspect / review the completed Assessment | Group assignment - complete a Risk Assessment of proposed practical activity | Risk Assessment form HS-R-048 | Dry marker board & pens |  |
| Sessions 3 & 4 3.40-7.5 hrs | Installation skills - conduit | Practical assignment – construct a number of conduit bends as shown in the Worksheet E-AG-012 | Provide information / guidance / support on demand during the assignment activity Highlight hazards as the emerge during the activity progresses Visually inspect completed test pieces on demand | Practical assignment - Apprentices to work individually & follow the instructions in the Worksheet (E-AG-012). Demonstrate how to measure, calculate & bend conduit to the required design Demonstrate how to prepare, thread & de-burr galvanised steel conduit & identify potential hazards as the task progresses | “Installation Skills – Conduit” Worksheet E-AG-012 | Conduit bender Length of 20mm PVC conduit Length of 20mm galvanised steel conduit Conduit bender Cutting lubricant 20mm Conduit spring Stock & 20mm die Chalk 1m ruler / straight edge Protractor Hacksaw & files Pipe-cutter Emery Cloth Cleaning materials (brush & cloths) |  |
|  |  | Complete a written assignment of the practical task as instructed in the Worksheet E-AG-012 | Provide information / guidance / support on demand during the assignment activity | Complete written assignment as instructed in the Worksheet (E-AG-012). | “Installation Skills – Conduit” Worksheet E-AG-012 | Practical task notes Pen, pencil, ruler, lined paper | Assessment of the presented practical assignment materials & the content of written assignment |

| Equality & Diversity | Differentiated Learning Activities (Highlight or tick where applicable) |
| --- | --- |
| Challenge stereotypes by: - Using non discriminatory language. - Using diverse images, names & scenarios. Promote a positive learning environment by : - Being a positive role model. - Encouraging collaborative work. - Valuing individual characteristics and experiences. - Encouraging learners to participate. - Nurturing mutual respect. - Promoting positive behaviour. Promote inclusion by : - Anticipating and addressing potential barriers to learning. - Using accessible resources. | - Was a mix of individual, paired and group work required?  - Variety of activities for different learning styles.  - Is learning support required  (If ticked record in action plan) - Targeted differentiated questioning to check learning with prompts / leads to support less able learners.  Specific Differentiation activities: - By Extension  (For example additional practical tasks after completion of ROA/QCF/TECH CERT content) - By Group Work  (For example grouping learners of mixed ability y to support each other within the peer group) - By Content.  (For example study different resource materials within the same topic area) - By Activities.  (For example study the same content but do different activities) - By Gradation  ( For example the same information and activities are given as the activity becomes progressively more difficult) |
| LESSON NOTES |  |