LESSON PLAN

LESSON PLAN No: E-LP-020	Dept: Electrical

SUBJECT: LIGHTING OPERATION AND DESIGN	Previous Knowledge: Minimal / None

AIMS :  At the end of the delivery and practical sessions the apprentice will have improved knowledge and understanding
relating to the basic principles of the design and operation of various types of lighting , how and why they are
utilised, and the hazards associated with their use and disposal.

| Target Time | Learning Reference | Objectives / content | Training Officer Activity | Learner Activity | Resources |  | Assessment |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Handouts | Equipment |  |
| Session 1 1:25 to 1:50 hrs | Lighting Design | Workplace Regulations (Sec. 8) Safety - why lighting is necessary, the consequences of poor lighting & how it can be avoided Identify issues that may influence the lighting design Lighting levels – Workplace Regulations, Reg. 8 Lighting measurement – how levels are measured & why | Lecture & promote Q&A & interactive discussion as the session progresses Identify where / why different types may be utilised Use manufacturing film clips (YouTube) to support learning Reference to the Course Notes : E-CN-002 as required NOTE : Reference to Risk Assessment E-RA-022 prior to the handling of Mercury &/or Sodium lamps | Observation & participation in Q&A & group discussion Recall / reflect on previous experiences &/or learning. Visually examine various types of lamp &/or luminaire – compare different types Observe manufacturing film clips (YouTube - How Its Made etc) Reference to the Course Notes E-CN-002 as directed / required | Course Notes – Lighting E-CN-002 | Dry marker board & pens Computer, beamer & associated screen Workshop installations Selection of lamps & fittings inc. Gas Discharge, Filament & LED | Observation / Q&A individuals & group during delivery & during the group assignment Participation in Risk Assessment |
|  | Lighting – manufacture, operation & control – filament lamps | Construction & operation Lamp holders – Edison screw, bayonet cap & variations Lamp dimmers Advantages & disadvantages |  |  |  |  |  |
| Session 2 1:20 to 1:40 hrs | Lighting – manufacture, operation & control – Gas Discharge lamps | Construction & operation of : Low Pressure Mercury Vapour (Fluorescent) High Pressure Mercury Vapour Low Pressure Sodium Vapour High Pressure Sodium Vapour Metal Halide |  |  |  |  |  |

LESSON PLAN

LESSON PLAN No: E-LP-020	Dept: Electrical

SUBJECT: LIGHTING OPERATION AND DESIGN	Previous Knowledge: Minimal / None

| Target Time | Learning Reference | Objectives / content | Training Officer Activity | Learner Activity | Resources |  | Assessment |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Handouts | Equipment |  |
| Session 2 (cont’d) | Gas Discharge lamps (cont’d) | Light output – type & comparison Advantages & disadvantages of each type Health & Safety – disposal of each type | Lecture & promote Q&A & interactive discussion as the session progresses | Observation & participation in Q&A & group discussion Recall / reflect on previous experiences &/or learning. Visually examine various types of lamp &/or luminaire – compare different types Observe manufacturing film clips (YouTube - How Its Made etc) Reference to the Course Notes E-CN-002 as directed / required | Course Notes – Lighting E-CN-002 | Dry marker board & pens Computer, beamer & associated screen Workshop installations Selection of lamps & fittings inc. Gas Discharge, Filament & LED | Observation / Q&A individuals & group during delivery & during the group assignment Participation in Risk Assessment |
|  | Light Emitting Diodes (LED’s) | Manufacture P-N Junction Light output – colour & quality Efficiency – cost, lamp lifetime |  |  |  |  |  |
|  | Lamp efficiency | Efficacy – lamp output measurement & comparison between different types |  |  |  |  |  |
|  | Power Factor Correction | Power : total & average Voltage & Current : lag & lead Capacitors – how they improve efficiency |  |  |  |  |  |
| Session 3 & 4 2:30 to 3:05 hrs | Lighting | Written Assignment | Provide support, information & guidance on demand | Complete written assignment | Electrical Worksheet “Lighting Operation & Design” E-AG-013 | Selection of lamps Pen & lined paper | Assessment of written content of assignment |
|  | Measurement of lighting & the Regulations | Practical assignment | Demonstration of Light Meter operation & interpretation of readings | Risk Assessment Working in pairs – complete a lighting survey of a selected area | Electrical Worksheet “Light Meter” E-AG-014 Risk Assessment form HS-R-048 | Pen / paper (Workshop area plan) Light Meter | Assessment of Risk Assessment content Observation of lighting readings |
|  |  | Written Assignment | Provide support, information & guidance on demand | Complete written assignment (use Regulations to draw conclusions) |  |  | Assessment of written content of assignment |

| Equality & Diversity | Differentiated Learning Activities (Highlight or tick where applicable) |
| --- | --- |
| Challenge stereotypes by: - Using non discriminatory language. - Using diverse images, names & scenarios. Promote a positive learning environment by : - Being a positive role model. - Encouraging collaborative work. - Valuing individual characteristics and experiences. - Encouraging learners to participate. - Nurturing mutual respect. - Promoting positive behaviour. Promote inclusion by : - Anticipating and addressing potential barriers to learning. - Using accessible resources. | - Was a mix of individual, paired and group work required?  - Variety of activities for different learning styles.  - Is learning support required  (If ticked record in action plan) - Targeted differentiated questioning to check learning with prompts / leads to support less able learners.  Specific Differentiation activities: - By Extension  (For example additional practical tasks after completion of ROA/QCF/TECH CERT content) - By Group Work  (For example grouping learners of mixed ability y to support each other within the peer group) - By Content.  (For example study different resource materials within the same topic area) - By Activities.  (For example study the same content but do different activities) - By Gradation  ( For example the same information and activities are given as the activity becomes progressively more difficult) |
| LESSON NOTES |  |