LESSON PLAN

LESSON PLAN No: E-LP-021	Dept: Electrical

SUBJECT: MOTORS and MOTOR CONTROL – DIRECT-ON-LINE STARTER	Previous Knowledge: Minimal / None

AIMS :  At the end of the delivery and practical sessions the apprentice will have improved knowledge 
and understanding relating to the basic principles of the design and operation of motor control,
and how it is incorporated into process control and manufacturing systems.

| Target Time | Learning Reference | Objectives / content | Training Officer Activity | Learner Activity | Resources |  | Assessment |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Handouts | Equipment |  |
| Session 1 1:25 to 1:50 hrs | Manufacturing & Process Control | Identify electrical equipment utilisation & control of supply | Lecture & promote Q&A & interactive discussion as the session progresses Demonstrate operation & differences between a switch & contactor Presentations Basic Motors E-CP-010 Motor Control E-CP-011 DVD The mighty motor Dissemble contactor & invite individuals to examine parts Demonstrate use / operation of push-button controls as a remote function | Observation & participation in Q&A & group discussion Visual inspection of motor controller unit & contactor (assembled & dissembled) Physical inspection of the contactor & its component parts | None | Dry marker board & pens Motor control unit Contactors (type “Crabtree BD15”) Control coil Thermal overload units Remote control push-button station 1m 3-core cable Workshop installations (where practical & safe to do so) Hand tools (screwdrivers) | Observation / Q&A individuals & group during delivery |
|  | Switches & contactor | Switches – hazards associated with on-load switching & practicalities of location Motor control unit – construction & operation |  |  |  |  |  |
|  | Contactor - supply & control | Construction & assembly Coil – construction & operating voltage Electro-magnetism Fixed & moving contacts Moving contact carriage – construction & operation Push-button function & connections Thermal overload – purpose, construction & operation Remote Control Unit |  |  |  |  |  |
|  | Introduction to electrical diagrams | Drawing symbols How to read / interpret schematic & wiring diagrams Local function & control – push-button operation, series & parallel connections, retaining contacts |  |  |  |  |  |

LESSON PLAN

LESSON PLAN No: E-LP-021	Dept: Electrical

SUBJECT1: MOTORS and MOTOR CONTROL – DIRECT-ON-LINE STARTER	Previous Knowledge: Minimal / None

| Target Time | Learning Reference | Objectives / content | Training Officer Activity | Learner Activity | Resources |  | Assessment |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Handouts | Equipment |  |
| Session 1 (cont’d) | Introduction to schematic & wiring diagrams – supply control (cont’d) | Remote function & control – Group assignment | Provide support, information & guidance on demand | Construct a schematic diagram demonstrating remote control / operation | None | Dry marker board & pens Remote control push-button station 1m 3-core cable | Observation / Q&A individuals & group during assignment Review of completed schematic diagram Review of completed Risk Assessment Observation / Q&A individuals & group during assignments Connect completed circuits to a 50Vac supply & test Review of completed Written Assignment |
| Session 2 1:20 to 1:40 hrs | Hazard identification | Risk Assessment | Provide assistance / information / guidance on demand during the activity & inspect the completed Assessment | Group assignment - complete a Risk Assessment of proposed practical activity | Risk Assessment form HS-R-048 | Dry marker board & pens Motor control unit Contactor (type “Crabtree BD15”) Remote control push-button station 1m 3-core cable Hand tools (terminal screwdriver, side-cutters) 1mm2 solid-drawn cable. 1m. 3-core 0.75mm2 cable. |  |
|  | Direct-on-line starter & remote control | Practical assignment – construct a control circuit to operate a contactor unit using : - Local control - Remote control | Provide support, information & guidance on demand Test completed circuits on demand Demonstrate alignment of laminated core faces Demonstrate fault finding techniques as problems arise | Complete practical assignment - using the diagrams assemble the equipment & install a control circuit for the contactor Observation of fault-finding techniques where possible Observation of completed circuit under test | Electrical Worksheet “Motor Control – Direct-on-line Starter” E-AG-015 |  |  |
| Session 3 1:10 to 1:25 hrs |  | Complete a written assignment of the practical task as instructed in the Worksheet E-AG-015 | Provide information / guidance / support on demand during the assignment activity | Complete written assignment |  | Practical task notes / observations Pen, pencil, ruler, lined paper | Assessment of written content of assignment |

| Equality & Diversity | Differentiated Learning Activities (Highlight or tick where applicable) |
| --- | --- |
| Challenge stereotypes by: - Using non discriminatory language. - Using diverse images, names & scenarios. Promote a positive learning environment by : - Being a positive role model. - Encouraging collaborative work. - Valuing individual characteristics and experiences. - Encouraging learners to participate. - Nurturing mutual respect. - Promoting positive behaviour. Promote inclusion by : - Anticipating and addressing potential barriers to learning. - Using accessible resources. | - Was a mix of individual, paired and group work required.  - Variety of activities for different learning styles.  - Is learning support required  (If ticked record in action plan) - Targeted differentiated questioning to check learning with prompts / leads to support less able learners.  Specific Differentiation activities: - By Extension  (For example additional practical tasks after completion of ROA/QCF/TECH CERT content) - By Group Work  (For example grouping learners of mixed ability y to support each other within the peer group) - By Content.  (For example study different resource materials within the same topic area) - By Activities.  (For example study the same content but do different activities) - By Gradation  ( For example the same information and activities are given as the activity becomes progressively more difficult) |
| LESSON NOTES |  |